## Tabelle1
-1300 | Event Queue is not valid. May be CH_LM ActiveX Control.vi is not running.
-1301 | The timeout expired, the command/query was invalid, an invalid meter was specified as an input parameter or if the CommunicationMode property has not been set.
-1302 | The timeout expired, or an invalid meter was specified as an input parameter or if the CommunicationMode property has not been set.
-1303 | Semaphore lock timed out.
-1304 | Timeout or USB communication mode was selected, so this method has no effect.
-1305 | Pending events in notification queue.
-1306 | Meter index already existing.
-1307 | Meter index not found.
-1308 | Service Request Error
-1309 | Streaming data token without Header
-1310 | Streaming data without Header
-1311 | LabMax ActiveX Control was not sucessfully initialized
-1312 | LabMax ActiveX Control was not sucessfully deinitialized.
-1313 | Invalid Communication Mode selected.
-1314 | Serial Settings out of range
-1315 | Serial Number is required for USB communication mode.
-1316 | Unsupported communication mode.
-1317 | Password is missing. Because this command will reset the realtime clock it is a password protected command that can be issued only after setting the calibration password.
-1318 | DAQ Data not OK
-1319 | DAQ timed out
-1320 | Sequence ID mismatch
-1321 | Pileup in trending queue
-1322 | Pileup in data logger queue